| Project Title / Name: |  | Maximo No: |  |
| --- | --- | --- | --- |

| FIFM Planning: Milestones and Hold Points |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Activity |  | Form | Required | Person Responsible | Print Full Name | Signed | Date |
| 1 | Relevant attachment from 1283296 FIFM Procedure: Mandatory ☐ Water (Attachment 1): W2, W3, W4, W5 or W6, ☐ Wastewater (Attachment 2) ☐ Treatment (Attachment 3), ☐ Stormwater (Attachment 4) |  |  |  | Specify |  |  |  |
| 2 | Roles and responsibilities are allocated? |  | B | Mandatory | Responsible Manager |  |  |  |
| 3 | The works in Form A have been investigated. FIFM HIDRA (Form C) is completed, and appropriate controls developed and incorporated into Forms E, H, I and J? |  | HIDRA (C) | Mandatory | Responsible Person Plan Preparation |  |  |  |
| 4 | FIFM HIDRA is reviewed and acknowledged (by Person Requesting FIFM for Water / FIFM Plan Coordinator on behalf of key participants, for other systems)? |  | HIDRA (C) | Mandatory | Person Requesting FIFM / FIFM Plan Coordinator |  |  |  |
| 5 | Nominated FIFM procedure acknowledged (Water only, i.e. W2, W3, W5, or W6)? |  |  | Mandatory | Person Requesting FIFM |  |  |  |
| 6 | FIFM schedule prepared & method for proving success of FIFM identified before submitting for approval (by Responsible Person Plan Preparation for Water / FIFM Plan Coordinator including other products where applicable) |  | H | Mandatory | Responsible Person Plan Preparation / FIFM Plan Coordinator |  |  |  |
| 7 | Plan Approval | - Roles and Responsibilities allocated and Communication of FIFM prepared: - The works in Form A have been investigated. FIFM HIDRA (Form C) is completed, and appropriate controls developed? | B & D HIDRA (C) | Y ☐ N ☐ Y ☐ N ☐ | Plan endorsed by: |  |  |  |
|  |  | - Trial FIFM and re-commissioning schedule prepared? | E / F | Y ☐ N ☐ | For Treatment only, if required. |  |  |  |
|  |  | - If trial is successful, can FIFM proceed to Form H without recommissioning on Form E? |  | Y ☐ N ☐ NA ☐ | Plan approved by: |  |  |  |
|  |  | - Suitable FIFM schedule prepared, including method of proving success of FIFM? | H | Mandatory | Responsible Manager |  |  |  |
|  |  | - Suitable FIFM monitoring plan prepared: | I / G | Y ☐ N ☐ |  |  |  |  |
|  |  | - Suitable Re-commissioning schedule prepared? | J | Mandatory |  |  |  |  |
| 8 | FIFM schedule reviewed & accepted by the Responsible Person Implementation from the area that will be completing and proving the schedule? This may be a different responsible person from this area at line 12. |  | FIFM Plan | Mandatory | Responsible Person Implementation |  |  |  |
| 9 | Hold Point: Planning milestones complete. FIFM plan is reviewed and accepted. |  | FIFM Plan | Mandatory | FIFM Plan Coordinator |  |  |  |

| FIFM Implementation: Milestones and Hold Points |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Activity | Form | Responsible Person | Print Full Name | Signed | Date | Time |
| 10 | Persons have been informed of and have accepted their nominated responsibilities? | B | FIFM Plan Coordinator |  |  |  |  |
| 11 | Communication of FIFM has been done? | B | FIFM Plan Coordinator |  |  |  |  |
| 12 | FIFM schedule completed & I have personally witnessed the FIFM successfully proven? | H | Responsible Person Implementation |  |  |  |  |
| 13 | The responsible people have signed off that the controls, noted in Forms E, H, I and J, have been applied? | E, H, I & J | FIFM Plan Coordinator or Responsible Person Implementation |  |  |  |  |
| 14 | Hold Point: Pre-Work milestones complete. Work authorised to commence? |  | FIFM Plan Coordinator |  |  |  |  |
| 15 | Authority to commence work acknowledged? |  | Service Provider |  |  |  |  |
| 16 | To monitor system performance, worksite and isolations, while work is carried out? | I / G | Responsible Person Implementation / Service Provider |  |  |  |  |
| 17 | Work is complete to the stage where the asset is now available for recommissioning? |  | Service Provider |  |  |  |  |
| 18 | Hold Point: Asset is now available for recommissioning? |  | FIFM Plan Coordinator |  |  |  |  |
| 19 | Authority to recommission assets acknowledged? |  | Responsible Person Implementation |  |  |  |  |
| 20 | Recommissioning schedule complete. System returned to normal operation and FIFM Plan Coordinator has been notified? | J | Responsible Person Implementation |  |  |  |  |
| 21 | Hold Point: Recommissioning acknowledged? Return plan to Responsible Manager |  | FIFM Plan Coordinator |  |  |  |  |

## Related Documents

| Parent document number | Parent document title |
| --- | --- |
| 1283296 | Flow Isolation and Flow Management (FIFM) Procedure |