| This form is to be used for the trial isolation of <250mm & W3 Single Barrier Routine 250mm & greater with low customer and system risks. |  |  |  |
| --- | --- | --- | --- |
| Plan No: |  | Work Order No: |  |
| Street Name: |  | Suburb: |  |

| Criteria: |  | Yes / No: |  | Comments: |  | Date: |
| --- | --- | --- | --- | --- | --- | --- |
| Is a Road Occupancy Licence (ROL) required? |  | Y ☐ | N ☐ | If “Yes”, ROL commencement date: |  |  |
| Other works have reduced system capability such that assets specified in trial cannot be taken out of service? |  | Y ☐ | N ☐ | If “Yes” date other works are to finish: |  |  |
| Does the trial impacts commercial / business customers? |  | Y ☐ | N ☐ |  |  |  |
| Resource Name: |  |  |  | Start Time: |  |  |

| Non-Residential Property Identification |  |  |  |  |
| --- | --- | --- | --- | --- |
| Commercial properties have been identified during initial inspection (if Y), then describe: | Y ☐ | N ☐ | If yes, then: - Services of non-residential properties (including fire services) marked on plan - Can tanker be supplied to commercial property | Y ☐ N ☐ Y ☐ N ☐ |
| Are there dual mains on the street? | Y ☐ | N ☐ | If yes, then: - Main the non-residential service comes off marked on plan | Y ☐ N ☐ |

| Trial |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All valves located? | Y ☐ | N ☐ | If No, Missing valve/s marked on plan |  |  |  | Y ☐ N ☐ |
| Are there intermediate valves not shown on Hydra? | Y ☐ | N ☐ | If yes, location marked on plan and mains trialled to this valve. |  |  |  | Y ☐ N ☐ |
| Main shuts as per original trial procedure? | Y ☐ | N ☐ | If No - check the following items: ☐ Fault identified? ☐ Shutdown extended (discuss with Water Networks if needed) ☐ Retrial required? ☐ Missing / broken valve marked on plan? ☐ Follow up WO (G3) required? |  |  |  |  |
| Notes: e.g. details of fault, other. |  |  |  |  |  |  |  |
| Main was able to be isolated? | ☐ Yes | ☐ No | Finish Time: |  | Date: |  |  |
| Trial undertaken by: |  |  |  |  |  |  |  |
| Corrective Work Order – Maximo No Raised |  |  |  |  |  |  |  |

## Related Documents

| Parent document number | Parent document title |
| --- | --- |
| 1283296 | Flow Isolation and Flow Management (FIFM) Procedure |