# FORM O – Trial Isolation of <250mm & W3 Single Barrier Routine 250mm & greater with low customer and system risks

| Plan No: | Work Order No: |
| --- | --- |
| Street Name: | Suburb: |

| ROL required? Y / N |  | If “Y”, ROL commencement date: |
| --- | --- | --- |
| Trial impacts commercial / business customers? |  | Y / N |
| Other works have reduced system capability such that assets specified in trial cannot be taken out of service? | Y / N | If “Y” date other works are to finish: _____ |
| Resource Name: |  | Start Time: |

| #### Non Residential Property Identification |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Y | N |  |  |  |
| Commercial properties have been identified during initial inspection (if Y, then describe) |  |  |  | If Yes, then: - Services of non residential properties (including fire services) marked on plan - Can tanker be supplied to commercial property | Y / N Y / N |
| Are there dual mains on the street |  |  |  | If Yes, then: - Main the non residential service comes off marked on plan | Y / N |

| #### Trial |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Y | N |  |  |  |
| All valves located |  |  | If No, Missing valve/s marked on plan |  | Y / N |
| Are there intermediate valves not shown on Hydra |  |  | If Yes, - Location marked on plan and mains trialled to this valve |  | Y / N |
| Main shuts as per original trial procedure |  |  | If No (check): - Fault identified - Shutdown extended (discuss with Water Networks if needed) - Retrial required - Missing / broken valve marked on plan - Follow up WO (G3) required |  |  |
| Notes: e.g. details of fault, other. |  |  |  |  |  |
| Finish Time: |  |  |  |  |  |
| ### Main was able to be isolated |  |  |  | ### Yes No |  |

Trial By:                               Date:

Corrective Work Order – WAMS No Raised: …………………………………………….…….…...